[image: image1.png]American Standard




[image: image2.png]


Rain Shower
FFASS037-006500BC0
[image: image3.png]e






FEATURES
· Brass Shower body
· 200mm sqaure shape
· With Air-in function
· Normal packing
· Flow rate @ 0.1MPa: 6  L/m
@ 0.3MPa:  8 L/m
SPECIFICATIONS
Head shower
Dimension:  202 mm 

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 1.3 kg/set 
Product net weight: 1.15 kg/set 
STANDARDS CRITERIA
GB 23447-2009  

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











