Head Shower

FFASS047-006500BC0

230mm Carb on Fiber Round Air-in Rain Shower Head

STANDARD SPECIFICATION

- ABS body

- ABS front panel, Carb Fiber surface

- ABS back cover, Chromium plating for durable finish

- Brass connector, Chromium plating for durable finish

- Gray TPR nipple

- Flow rate @ 0.1 MPa (with regulator) 5.18 L/min

PRODUCT WEIGHT: 0.49 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA