Head Shower

FFASS039-006500BC0

230mm Round Rain Shower Head

STANDARD SPECIFICATION

- ABS body

- ABS front panel, Chromium plating for durable finish

- SUS304 SS back cover, mirror polishing

- Brass connector, Chromium plating for durable finish

- Gray TPE nipple

- Flow rate @ 0.1 MPa (with regulator) 5.88 L/min

PRODUCT WEIGHT: 0.77 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA