Head Shower

FFASS045-006500BC0

260x190m m Pl astic Rain Shower Head with Air-in

STANDARD SPECIFICATION

- ABS body

- ABS front panel, Gray

- ABS back cover, Chromium plating for durable finish

- Brass connector, Chromium plating for durable finish

- Gray TPR nipple

- Flow rate @ 0.1 MPa (with regulator) 5.29 L/min

PRODUCT WEIGHT: 0.67 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA