[image: image1.png]American Standard




[image: image2.png]


 Heritage
Single Function Hand Shower

FFAS9H04-000500BC0
[image: image3.png]109

L0z







FEATURES
· Brass body, Chromium plating.
· Brass panel, Chromium plating.
· Gray TPR nipple
· Plastic handle, white
· With normal packaging
· Flow rate @ 0.1MPa: 4.86 L/min 
                                       SPECIFICATIONS

Single function

Panel dimension: 83 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  0.33  kg/set 
Product net weight:  0.21 kg/set 
STANDARDS CRITERIA
GB/T 23447-2009 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











