[image: image1.png]American Standard




[image: image2.png]


Milano
Basin Mixer
[image: image3.png]Max150

31.8

>380

fo

220

G1/2



FFAS0901-102500BC0


FEATURES
· A grade brass, strong and durable
· Germanic ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator
· With pop-up drain
· With normal packaging
· Flow rate @ 0.42MPa: 5.5 L/min for spout
                                       SPECIFICATIONS

Basin mixer faucet
1-hole installation: lever handle (cold & hot)

Spout reach: 103 mm

Spout height:  88 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  2.0kg/set 
Product net weight:  1.7kg/set 
STANDARDS CRITERIA
GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











