Head Shower

FFASS048-006500BC0

200mm UFO Air-in Rain Shower Head

STANDARD SPECIFICATION

- ABS body

- ABS front panel, Gray surface

- ABS back cover, Chromium plating for durable finish

- Brass connector, Chromium plating for durable finish

- Gray TPR nipple

- Flow rate @ 0.1 MPa (with regulator) 5.34 L/min

PRODUCT WEIGHT: 0.52 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA