Head Shower

FFAS907C-100500BC0

Moonshadow Rainshower System HM204

STANDARD SPECIFICATION

- Round Brass Tube, Chrome Finish

- Zinc Die Casting handle ,Chrome Finish

- Cast Brass Body ,Chrome Finish

- W/ Adjustable Hanger

- W/ Stainless Steel Hose

- W/ Diverter

- W/o Hand Shower

- W/ φ200mm Stainless Steel Air-in Round Shower Head, Mirror Polish

- Shower head Flow Rate at 3bar is 10.56L/min

PRODUCT WEIGHT: 2.8 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009 + GB 18145

STANDARDS CRITERIA