Head Shower

FFASS046-006500BC0

230mm Round Ai r -in Rain Shower Head

STANDARD SPECIFICATION

- ABS body

- ABS front panel, Gray

- ABS back cover, Chromium plating for durable finish

- Brass connector, Chromium plating for durable finish

- Gray TPR nipple

- Flow rate @ 0.1 MPa (with regulator) 5.37 L/min

PRODUCT WEIGHT: 0.54 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA