[image: image1.png]American Standard




[image: image2.png]Gl/2"

14.3

)

54



Rain Shower
FFASS027-006500BC0
[image: image3.png]





FEATURES
· Plastic Shower body
· 254mm round shape
· With Air-in Function
· Normal packing
· Flow rate @ 0.1MPa: 3.6  L/m
@ 0.3MPa:  5.8 L/m
SPECIFICATIONS
Head shower
Dimension:  254 mm 

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 0.9 kg/set 
Product net weight: 0.75 kg/set 
STANDARDS CRITERIA
GB 23447-2009  

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











