Head Shower

FFASS044-006500BC0

250mm Sq uare R ain Shower Head with Air-in

STANDARD SPECIFICATION

- ABS body

- ABS front panel, Chromium plating for durable finish

- ABS back cover, Chromium plating for durable finish

- Brass connector, Chromium plating for durable finish

- Gray TPR nipple

- Flow rate @ 0.1 MPa (with regulator) 5.49 L/min

PRODUCT WEIGHT: 0.92 Kg

APPLICABLE CODES & STANDARDS:

- GB 23447-2009

STANDARDS CRITERIA