[image: image1.png]247





[image: image2.png]American Standard



 MoonShadow
3 Function Hand Shower

FFAS9H14-000500BC0
[image: image3.png]





FEATURES
· ABS plastic body, Chromium plating.
· ABS plastic panel, Chromium plating.
· Gray TPR nipple
· With normal packaging
· Flow rate @ 0.1MPa: 5.78 L/min 
                                       SPECIFICATIONS

3 function: Spray、 Massage、 S+M

Panel dimension: 105 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  0.29 kg/set 
Product net weight:  0.21 kg/set 
STANDARDS CRITERIA
GB/T 23447-2009 
[image: image4.png]247





This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











