[image: image4.png]30

129

| 32

Neo Modern SH SL Lava Faucet





[image: image1.png]American Standard



[image: image2.png]Stmdard



Neo Modern
Single Hole Basin Mixer
FFAS0701-102500BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator
· Without pop-up drain
· With normal packaging
· Flow rate @ 0.1MPa: 5 L/min for spout
SPECIFICATIONS

Basin mixer faucet
1-Hole Installation: lever handle (cold & hot)

Spout reach: 95 mm

Spout height:  64 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 1.6 kg/set 
Product net weight:  1.4 kg/set 
STANDARDS CRITERIA
TIS 2067-2552 

GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











