[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



 EasySET
Wall Outlet – Square (G1/2”)

[image: image3.png]


FFAS9142-000AL0BF0


FEATURES
· Brass body, chrome plated 
· Plastic escutcheon, chrome plated 
· With normal packaging
· Flow rate @ 0.1MPa:  49  L/min 
SPECIFICATIONS

G1/2” for inlet and outlet



FINISHES AVAILABILITY
PVD Brush Hard Grophite
AWARDS WON
 N/A
SHIPPING WEIGHT 
Product weight: 0.24 kg 
STANDARDS CRITERIA
 GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











