Milano

Wall Mount Bath Spout

FFAS9714-000500BF0

FEATURES

- A grade brass, strong and durable

- Neoperl aerator

- With normal packaging

- Flow rate @ 0.1MPa: 7.78 L/min for spout

SPECIFICATIONS

Wall Mount Bath Spout

Wall mount bath spout

Spout Reach: 162 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight: 0.96kg /set

Product net weight: 0.81kg /set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING