[image: image1.png]American Standard




[image: image2.png]N



Milano
Exposed shower only
FFAS0912-702501BF0
[image: image3.png]N7







FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· With normal packaging
· Without shower kits
· Flow rate @ 0.1MPa: 12.8 L/min for shower outlet
SPECIFICATIONS
Exposed shower only
2-Hole Installation: lever handle (cold & hot)


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  1.7kg/set 
Product net weight:  1.4kg/set 
STANDARDS CRITERIA
GB 18145-2014 

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











