Milano

In-wall Vessel Faucet

FFAS0904-102501BF0

FEATURES

- A grade brass, strong and durable

- Germanic ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- Brass escutcheon, chrome finish

- Neoperl aerator

- With normal packaging

- Flow rate @ 0.42MPa: 5.5 L/min for spout

SPECIFICATIONS

Concealed vessel faucet

1-hole installation: lever handle (cold & hot)

Spout reach: 162mm

Escutcheon size: 170*70mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  2.7kg/set

Product net weight:  2.5kg/set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING