[image: image1.png]American Standard




[image: image2.png]


Milano
Milano Rain Shower Faucet
FFAS0972-702500BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic diverter with 3 way  for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 
· Without shower kit
· With normal packaging
· Flow rate @ 0.1MPa: 10.5 L/min for spout
· Flow rate @ 0.1MPa: 13.5 L/min for hand shower outlet
· Flow rate @ 0.1MPa: 13.1 L/min for shower head outlet
SPECIFICATIONS
Exposed Bath & Shower Mixer Faucet
3-way shower bar
2-Hole Installation: lever handle (cold & hot)

Spout Reach: 211 mm


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  3.7kg/set 
Product net weight:  3.5kg/set 
STANDARDS CRITERIA
GB 18145-2014 

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











