[image: image1.png]American Standard




[image: image2.png]


Ceraplan
Basin Mixer
FFAS1261-105500BC0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 4.5gpm max at 60psi
· With pop-up drain
· With normal packaging
· Flow rate @ 0.1MPa: 7.5 L/min for spout
SPECIFICATIONS

Basin mixer faucet
1-Hole Installation: lever handle (cold & hot)

Spout reach: 116 mm

Spout height:  38 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 1.9kg/set 
Product net weight: 1.7kg/set 
STANDARDS CRITERIA
GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











