[image: image1.png]American Standard




[image: image2.png]


Milano
In-wall Vessel Faucet
FFAS0904-102500BF0
[image: image3.png]75 49

| Ve

ISR {C

I G172
162 35%°







FEATURES
· A grade brass, strong and durable
· Germanic ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Brass escutcheon, chrome finish
· Neoperl aerator
· With normal packaging
· Flow rate @ 0.42MPa: 5.5 L/min for spout
                                       SPECIFICATIONS

 Concealed vessel faucet 
1-hole installation: lever handle (cold & hot)

Spout reach: 162mm
 Escutcheon size: 170*70mm


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  2.7kg/set 
Product net weight:  2.5kg/set 
STANDARDS CRITERIA
GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











