[image: image1.png]American Standard




[image: image2.jpg]


Simplica
Concealed  Shower Mixer
FFASB222-709500BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· With normal packaging
· Flow rate @ 0.1MPa: 12.96L/min for spout
SPECIFICATIONS

Concealed Shower Mixer faucet
Single handle control

                                                                                                        

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  1.33kg /set
Product net weight:  1.23kg /set

STANDARDS CRITERIA
GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











