[image: image1.png]American Standard




[image: image2.png]


Easyflo
Push Basin Mono
FFAST823-101500BF0
[image: image3.png]O31.4

Glr2"







FEATURES
· Switch button, enjoying an convenient & easy operation
· High quality cartridge for longer usage
· Zinc die casting chromed body
· Plastic inner water-way 
· Reducing metallic pollutant precipitation
· W/ neoperl aerator
· W/o pop-up drain
· W/ normal Package
SPECIFICATIONS

Deck-mounted
Cartridge: 500,000 times for life cycle
Flow rate @0.1MPa: 3.87 L/min for spout
Spout Reach: 100 mm
Spout Height:  81 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  0.7kg
Product net weight:      0.580kg
STANDARDS CRITERIA
TIS 2067-2552
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
Rev.: D0
DIMENSIONAL DRAWING 








