Simplica

Exposed Shower Mixer

FFASB212-701501BF0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- With normal packaging

- Flow rate @ 0.1MPa: 14.76L/min for shower

SPECIFICATIONS

Exposed  Shower Mixer faucet

Single handle control

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  1.85kg /set

Product net weight:  1.75kg /set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING