Simplica

Exposed Bath & Shower Mixer with Shower Kit

FFASB211-601500BF0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- With normal packaging

- Flow rate @ 0.1MPa: 10.56 L/min for spout

- 6.48 L/min for shower

SPECIFICATIONS

Exposed Bath & Shower Mixer faucet

Single handle control

Single function handle shower

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  2.43kg /set

Product net weight:  2.23kg /set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING