[image: image1.png]American Standard




[image: image2.png]


Simplica
Exposed Bath & Shower Mixer
FFASB211-601501BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· With normal packaging
· Flow rate @ 0.1MPa: 10.56 L/min for spout
·                                     12.3 L/min for shower
SPECIFICATIONS

Exposed Bath & Shower Mixer faucet
Single handle control
Automatic Diverter

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  2.28kg /set
Product net weight:  2.08kg /set

STANDARDS CRITERIA
GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











