[image: image1.png]American Standard




[image: image2.jpg]


Concept Round
Concealed Bath & Shower Mixer
FFAS1420-609500BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· Ceramic cartridge lift time ≥500,000 times
· With normal packaging
· Flow rate @ 0.1MPa: 11.40 L/min (W/o Spout)

                                11.88 L/min (W/o Shower)
                                       SPECIFICATIONS

Concealed Bath & Shower Mixer
Single handle control
●    W/ Automatic Diverter
●    W/ Plastic Escutcheon
●    W/o Shower Kits

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
 N/A

SHIPPING WEIGHT
Product gross weight:  1.75 kg/set   
Product net weight:   1.6 kg/set 
STANDARDS CRITERIA
GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











