SenseFlow

Concealed Sensor Toilet

FFAS8603-000500BC0

FEATURES

- A grade brass, strong and durable

- Infrared Sensor

- AC 220V

- With normal packaging

- With a flush when 24 hours with no detection

- 6LPF flush volume (Dynamic Pressure1 bar)

SPECIFICATIONS

Sensor  Toilet

panel  Reach: 160mm

panel  Height:  160mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product Net weight: 5.68 kg/set

Product gross weight: 5.8kg/set

STANDARDS CRITERIA

CJ194-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING