Line-Sensor

Extend Sensor Faucet

FFAS8507-D00500BC0

FEATURES

- A grade brass, strong and durable

- DC 6V (4 pcs AA Alkaline     Battery)

- With normal packaging

- Line sensor technological innovation , no error operation when the sensor face to the mirror

- ≤ 8L/Min at 1 bar

SPECIFICATIONS

Sensor installed at the spou

Faucet  Reach: 164.7mm

Faucet  Height:  205.8mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product net  weight:  3.62 kg/set

Product gross  weight:  3.8kg/set

STANDARDS CRITERIA

CJ194-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING