Acacia-E

DM 4H Bath & Shower Mixer

FFAS1300-601500BF0

FEATURES

- A grade brass, strong and durable

- High quality ceramic valve for longer usage

- Ceramic cartridge tested = 500,000 times

- Neoperl HC V slim air aerator

- 5-functions hand shower

- With shower hose & shower hanger

- With normal packaging

- Flow rate @ 0.1MPa: 9.7 L/min for spout

- Flow rate @ 0.1MPa: 5.7 L/min for shower

SPECIFICATIONS

DM 4-hole bath & shower mixer faucet

4-hole installation: double handle (cold & hot)

Spout reach: 191 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  5.1kg /set

Product net weight:  4.9kg /set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

# Text boxes

DIMENSIONAL DRAWING