Acacia SupaSleek

Basin Mixer

1124240000

FEATURES

- Modern design that can fit with any style of bathroom

- Cold-Start handle for saving energy

- Lixil 28 Cartridge for a life time use

- Strong brass construction

- Nickel and chromium plating for durable finish

- M24x1 1.2GPM Ecojoy 2 Aerator

- With Pop-up drain

- Flow Rate @ 0.1 MPa : 3.82 L/Min

SPECIFICATIONS

Basin mixer faucet

DIMENSIONAL DRAWING

1-Hole Installation: lever handle (cold & hot)

Spout reach: 115 mm

Spout height: 123 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

- N/A

SHIPPING WEIGHT

Product gross weight: 2.1 kg/set

Product net weight:  1.85 kg/set

STANDARDS CRITERIA

GB 18145-2014

TIS 2067-2552

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.