[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



Acacia-E
Concealed Shower Mono
F FAS1336-7T9500BT0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 100,000 times
· Brass escutcheon, Chrome Finish
· Without shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 12.6 L/min for shower outlet
SPECIFICATIONS
·  Concealed Mono Shower Valve
· In-Wall Installation
· Plate Dimension : 150x150 mm


FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product weight: 1.40 kg 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

         Rev.: D/1
�








DIMENSIONAL DRAWING 











