[image: image4.png] ——

/2"

135




[image: image1.png]American Standard



[image: image2.png]Stmdard



 Shower
Concealed Body Shower

FFASS054-000500BT0
[image: image3.png]





FEATURES
· Plastic escutcheon, chrome plated 
· Single function 
· With constant flow regulator for water saving. 

· With normal packaging
· Flow rate @ 0.1MPa:  ≤ 8 L/min 
SPECIFICATIONS

Body shower with conceal body

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
 N/A
SHIPPING WEIGHT 
Product weight: 0.8 kg 
STANDARDS CRITERIA
 GB/T 23447-2009 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

         Rev.: D/2
�








DIMENSIONAL DRAWING 











