[image: image1.png]American Standard




[image: image2.png]122

T

0ET

S

60

Mox 150

3115



Acacia SS
Acacia SS 3-hole Basin Mixer_TH
1124260000
[image: image3.png]





FEATURES
· Brass body, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 
· With pop-up drain
· With normal packaging
· Flow Rate @0.1Mpa: 4.0 L/M 

SPECIFICATIONS

3H Basin mixer faucet
3-hole installation: Dual handle (cold & hot)

Spout reach:  122 mm

Spout height:  130 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  3.2 kg /set 
Product net weight:  3 kg /set 
STANDARDS CRITERIA
GB 18145-2014  
TIS 2067-2552  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











