[image: image1.png]American Standard




[image: image2.png]


Easyflo
Push Concealed Shower Mono
FFAST826-709500BF0
[image: image3.png]Gl/2"
41-51

6

SECTION A-A

31.4

o

o3







FEATURES
· Switch button, enjoying an convenient & easy operation
· High quality cartridge for longer usage
· A grade brass body, strong and durable
· Plastic chromed escutcheon & bushing (ABS)
· W/o shower kits
· W/ normal package
SPECIFICATIONS

Concealed 
Cartridge: 500,000 times for life cycle
Flow rate @0.1MPa: 10.37 L/min for shower outlet
Escutcheon dimension: 95x60 mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  0.4kg
Product net weight:      0.346kg
STANDARDS CRITERIA
TIS 2067-2552

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
Rev.: D0
DIMENSIONAL DRAWING 











