Easyflo

Push Concealed Shower Mono

FFAST826-709500BP0

FEATURES

- Switch button, enjoying an convenient & easy operation

- High quality cartridge for longer usage

- A grade brass body, strong and durable

- Plastic chromed escutcheon & bushing (ABS)

- W/o shower kits

- W/ normal package

SPECIFICATIONS

Concealed

Cartridge: 500,000 times for life cycle

Flow rate @0.1MPa: 10.37 L/min for shower outlet

Escutcheon dimension: 95x60 mm

FINISHES AVAILABILITY

Chrome (- CP)

AWARDS WON

N/A

SHIPPING WEIGHT

Product gross weight:  0.4kg

Product net weight:      0.346kg

STANDARDS CRITERIA

TIS 2067-2552

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

Rev.: D0

# Text boxes

DIMENSIONAL DRAWING