[image: image1.png]American Standard




Acacia Supasleek[image: image2.png]



AcaciaSS Concealed B&S Mixer 3-way(APAC)
1131310000
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· With Ceramic 3-way diverter cartridge
· Zn die casting escutcheon, chrome finish
· Without spout & shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 11.5 L/min for spout outlet
· Flow rate @ 0.1MPa: 12.2 L/min for shower outlet
SPECIFICATIONS

Concealed bath &shower mixing valve
1-hole installation: lever handle (cold & hot)
Escutcheon size: 182.5x117mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 2.45kg /set 
Product net weight: 2.25kg /set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











