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FEATURES

·  ABS shell
· Infrared Sensor 
· Sensor distance:5-9CM
· DC 6V(4pcs AA Alkaline battery)
· Soap capacity:1000CC
· Low battery voltage warning
· IPX4


SPECIFICATIONS

Sensor Soap dispenser
Dimension:240x138x94



FINISHES AVAILABILITY

 White 

AWARDS WON
·  N/A
DIMENSIONAL DRAWING 



SHIPPING WEIGHT
Product net weight:  0.7 kg/set 
Product gross weight:  0.83kg /set


STANDARDS CRITERIA
N/A 








This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
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