[image: image1.png]American Standard




Acacia Supasleek[image: image2.png]



Acacia SS Concealed shower Mixer(TH)
1132290000
[image: image3.png]LTl






FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Zn die casting escutcheon, chrome finish
· Without shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 15.6 L/min for shower outlet
SPECIFICATIONS

Concealed shower mixing valve
1-hole installation: lever handle (cold & hot)
Escutcheon size: 117x117mm

FINISHES AVAILABILITY
Chrome (- CP)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight: 1.7kg /set 
Product net weight: 1.5kg /set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











