Kitchen Sink

Handmade two-bowl sink 820mm

101371MS00

FEATURES

- High quality SUS304 stainless steel ,strong ability for anti-corrosion and anti-oxidation

- Handmade process and high-end satin finish

- Rearward- waste design

- Capacity (to overflow): 18.5/15L

- With SUS304 drain and PP Material Waste

- With box packaging

SPECIFICATIONS

Two bowls

Top/Under counter

SUS304 sheet thickness 2.0mm(Panel)/1.0(Body)

FINISHES AVAILABILITY

DIMENSIONAL DRAWING

Satin

AWARDS WON

- N/A

SHIPPING WEIGHT

Product weight:  12.6 kg

STANDARDS CRITERIA

Q/ASJM 004-2023

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.