[image: image1.png]



[image: image2.png]American Standard



 Acacia SupaSleek
Bath Spout Without Diverter
1136590000
[image: image3.png]]







FEATURES
A grade brass,strong and durable
· Brass escutcheon, Chrome  finish 
· SupaSleek Bath Spout
· Neoperl aerator 
· With normal packaging
· Flow rate @ 0.3MPa: 35 L/min 

SPECIFICATIONS

In-wall  bath spout
Dimension:188.5*117*73

FINISHES AVAILABILITY
 Chrome Finish
AWARDS WON
·  N/A


S       HIPPING WEIGHT
Product gross weight:  0.805 kg/set 
Product net weight:  0.755kg/set 
STANDARDS CRITERIA
GB 18145-2014
[image: image4.png]



This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











