[image: image1.png]



[image: image2.png]American Standard



Signature
Signature wall mounted basin mixer With drainage
FFAS1704-101A00BF0
[image: image3.png]211

173

@
)

Glr2"

42-52

Gli2"

31.68

T

60

198

210







FEATURES
· Low lead brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 1.5 GPM
· With  Brass Press Action Pop-up Drain
· With normal packaging
· Flow rate @ 0.1MPa: 3.8 L/min for spout
SPECIFICATIONS

[image: image4.png]



In Wall Basin mixer faucet
One lever handle 

Spout reach:  198 mm


FINISHES AVAILABILITY
PVD Polished Hard Graphite
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  3.256kg /set 
Product net weight:      3.056kg /set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











