[image: image1.png]



[image: image2.png]American Standard



 Acacia SupaSleek
Bath Spout Without Diverter
1136620000
[image: image3.png]ki

2

4

T >
<
] G2t
15
169

PR 188.5







FEATURES
A grade brass,strong and durable
· Brass escutcheon, Chrome  finish 
· SupaSleek Bath Spout
· Neoperl aerator 
· With Diverter
· With normal packaging
· Flow rate @ 0.3MPa: 35 L/min 
                                           SPECIFICATIONS

In-wall  bath spout
Dimension:188.5*117*75.9

FINISHES AVAILABILITY
 Chrome Finish
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  0.996 kg/set 
Product net weight:  0.946kg/set 
STANDARDS CRITERIA
GB 18145-2014
[image: image4.png]



This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











