[image: image1.png]



[image: image2.png]American Standard



Signature
Exposed Bath & Shower Mixer
FFAS1711-609DA0BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· Grohe High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· 2-way pull diverter for spout and shower
· Neoperl aerator 
· Without shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 8.5 L/min for spout
· Flow rate @ 0.1MPa: 13.5 L/min for shower outlet
SPECIFICATIONS

[image: image4.png]



Exposed Bath & Shower Mixer Faucet
2-Hole Installation: lever handle (cold & hot)

Spout Reach: 178 mm



FINISHES AVAILABILITY
Warm Sunset (- PVD)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  2.79kg /set 
Product net weight:  2.6kg /set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











