Acacia SupaSleek

Bath Spout Without Diverter

1136630000

FEATURES

A grade brass,strong and durable

- Brass escutcheon, Chrome  finish

- SupaSleek Bath Spout

- Neoperl aerator

- With Diverter

- With normal packaging

- Flow rate (spout outlet) @ 0.1MPa: 21.9 L/min

- Flow rate (shower outlet) @ 0.1MPa: 15.8 L/min

SPECIFICATIONS

In-wall  bath spout

Dimension:188.5*117*75.9

DIMENSIONAL DRAWING

FINISHES AVAILABILITY

Chrome Finish

AWARDS WON

- N/A

SHIPPING WEIGHT

Product gross weight:  0.996 kg/set

Product net weight:  0.946kg/set

STANDARDS CRITERIA

GB 18145-2014

This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.

American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.