[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



Signature
Concealed Shower only Mixer
FFAS1722-709DA0BF0
[image: image3.png]





FEATURES
· Brass body, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Without shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 13.5 L/min for shower outlet
SPECIFICATIONS

Concealed Shower only Mixer
In-wall installation
 Escutcheon size: 150X150mm

FINISHES AVAILABILITY
Warm Sunset (- PVD)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:1.35kg/set 
 Product net weight:  1.07 kg/set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











