[image: image1.png]



[image: image2.png]American Standard



Signature
Exposed Shower Mixer
FFAS1712-709DA0BF0
[image: image3.png]150415







FEATURES
· A grade brass, strong and durable
· Grohe High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Without shower kits
· With normal packaging
· Flow rate @ 0.1MPa: 16 L/min for shower outlet
 SPECIFICATIONS

[image: image4.png]



Exposed Bath & Shower Mixer Faucet
2-Hole Installation: lever handle (cold & hot)



FINISHES AVAILABILITY
Warm Sunset (- PVD)
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  2.26kg /set 
Product net weight:  2.132kg /set 
STANDARDS CRITERIA
GB 18145-2014  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











