[image: image4.png]



[image: image1.png]American Standard



[image: image2.png]Stmdard



Acacia-E
Concealed Shower Main Mixing Valve
FFAS1322-708AL0BF0
[image: image3.png]24

1

58+10






FEATURES
· DZR brass body, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Brass escutcheon, 
· PVD (- Warm Sunset)
· Without shower kits
· Without u-box
· With normal packaging
· Flow rate @ 0.1MPa: 16.6 L/min for shower outlet
SPECIFICATIONS
Concealed Shower Mixing Valve
 WaterMark certification

FINISHES AVAILABILITY
PVD (- Warm Sunset)
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product gross weight:  1.9 kg /set 
Product net weight:  1.7 kg /set 

STANDARDS CRITERIA
 AS/NZS 3718:2005
AS/NZS 6400:2016  
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











