[image: image1.png]



[image: image2.png]American Standard



Signature
Exposed Bath & Shower mixer with integrated Rainshower kit 
FFAS1772-701DA0BF0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· Grohe High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· With Ceramic 3-way diverter cartridge
· With Rainshower kit
· With 3F hand shower
· With Easy-slide shower holder
· With 1.5m Twist-free shower hose
· With normal packaging
· Flow rate @ 0.1MPa: 7.5 L/min for Spout
· Flow rate @ 0.1MPa: 5.1 L/min for shower head
· Flow rate @ 0.1MPa: 4.6 L/min for hand shower
 SPECIFICATIONS

[image: image4.png]



Exposed Bath & Shower Mixer Faucet
2-Hole Installation: lever handle (cold & hot)


FINISHES AVAILABILITY
PVD Warm Sunset
AWARDS WON
·  N/A

SHIPPING WEIGHT
Product gross weight:  8.0kg /set 
Product net weight:  5.93kg /set 
STANDARDS CRITERIA
GB 18145-2014 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
DIMENSIONAL DRAWING 











