[image: image4.png]180

201~191

o~
=
Gl/2

55.5~65.5,

100





[image: image1.png]American Standard



[image: image2.png]Stmdard



Acacia E
In-Wall Basin Mixer
FFAS1304-101AL0BT0
[image: image3.png]





FEATURES
· A grade brass, strong and durable
· High quality ceramic valve for longer usage
· Ceramic cartridge tested = 500,000 times
· Neoperl aerator 2.2 GPM
· W/O pop-up drain
· With normal packaging
· Flow rate @ 0.1MPa:  4.62 L/min for spout
SPECIFICATIONS
In-wall Basin Mixer Faucet
1-Hole Installation: lever handle (cold & hot)

Spout Reach: 191~201 mm


FINISHES AVAILABILITY
PVD Brushed Hard Graphite
AWARDS WON
·  N/A


SHIPPING WEIGHT
Product weight:  2.82 kg 
STANDARDS CRITERIA
GB 18145-2014 

WI10.0575
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.
�








DIMENSIONAL DRAWING 











