[image: image1.png]



[image: image3.png]American Standard



DuoSTIX
Hygiene Spray with Hose and Holder
FFASTS28-000A00BT0 (A00)

FFASTS28-000A00BF0 (A00)

[image: image4.png]




[image: image5.png].....







FEATURES
· ABS plastic body,PVD (A00)
· Two functions: spray and jet spray
· W/ anti-microbial material for Glossy white body
· Easy to take the cap off for jet spray function 
· 100,000 life cycles for on/off
· With 1.2M flexible hose
· With fixed angle shower holder
· DIY color box packaging
· Flow rate @ 0.1MPa: 5 L/min
SPECIFICATIONS
[image: image2.png]



      Hygiene Spray 
     flow rate at 0.10MPa: ≤6L/min
G1/2 thread for inlet
PVD(A00): 

FINISHES AVAILABILITY
           Matte Black
AWARDS WON 
           N/A

SHIPPING WEIGHT

           Product gross weight: 0.45 Kg/set 

           Product net weight: 0.35 Kg/set 

STANDARDS CRITERIA
TIS 1497-2005 
This document is the property of American Standard. It can neither be reproduced, nor communicated, without authorization.
American Standard reserves the right to change dimensions and specifications without notice, we assume no liability for the use of obsolete dimensions.

         Rev.: D/0
PVD(A00)       





DIMENSIONAL DRAWING 











